# GENERAL REMARKS:

Please tick the appropriate field, fill in "yes" or "no" or fill the data / information required;

E-mail the filled  Questionnaire + Raw Water Analysis to info@aquarius-holding.com, taking reference to the Project Name and Project-Number

# GENERAL INFORMATION

| Country (Location of Plant) |  |
| --- | --- |
| City (Location of Plant) |  |
| Project-Name |  |
| Project-No. |  |
| Client / Company-Name |  |
| End-Customer-Name |  |
| Website |  |
| Contact Person at Client |  |
| Country ( Client) |  |
| City ( Client) |  |
| Street-Name, Street-No. |  |
| P.O. Box-No. |  |
| Phone-No. (Office) |  |
| Phone-No. (Mobile) |  |
| Fax-No. |  |
| E-mail-address |  |

- FORM OF QUOTATION ( required ) :

| General Information only |  |
| --- | --- |
| Budget Offer |  |
| Detailed firm Offer |  |

# TECHNICAL INFORMATION

| 3.1 Plant location (Town / District / Country): |  |
| --- | --- |

| Level above sea [m] |  |  | Ambient temperature min. / max. [°C] |  |
| --- | --- | --- | --- | --- |
| Relative humidity [%] |  |  | Max. wind speed [km/h] |  |
| Plant area [m x m] |  |  |  |
|  |  |  | (please add sketch or layout) |

3.2 Basic Data	-	Planning capacity:

|  |  | Actual |  | Planning |
| --- | --- | --- | --- | --- |
| Population (in Person) | [P] |  |  |  |
| Industrial (in Population Equivalent) | [PE] |  |  |  |
| Total | [P + PE] |  |  |  |

- Sources of waste water:

|  | Actual |  | Planning |
| --- | --- | --- | --- |
| Industry |  |  |  |
| Agriculture (livestock) |  |  |  |

3.3 Waste Water inflow

| Municipal waste water |  | [m³/d] |  | [m³/h] |
| --- | --- | --- | --- | --- |
| Industrial waste water |  | [m³/d] |  | [m³/h] |
| Agricultural drain water |  | [m³/d] |  | [m³/h] |
| Specific waste water quantity |  | [l/PE/d] |  |  |
| Rainwater quantity (for mixed sewer only) |  | [m³/h] |  | [l/s] |
| Sewer system | separate |  | mixed |  |
| Additional fecal waste water | Yes / No |  |  | [m³/d] |

3.4 Waste water composition:

| pH-Value |  |  | Temperature [°C] |  |
| --- | --- | --- | --- | --- |

| Parameter | Concentration | Daily amount |
| --- | --- | --- |
| BOD5 |  | [mg/l] |  | [kg/d] |
| COD |  | [mg/l] |  | [kg/d] |
| Dry Susp. Solids |  | [mg/l] |  | [kg/d] |
| Total Nitragen |  | [mg/l] |  | [kg/d] |
| Total Phosphorous |  | [mg/l] |  | [kg/d] |
| Other |  | [mg/l] |  | [kg/d] |

# 3.5 Required treated water quality:

| Discharge to: | Recipient (River, lake, sea) |  | Public sewer |  |
| --- | --- | --- | --- | --- |

| Parameter | Concentration | Daily amount |
| --- | --- | --- |
| BOD5 |  | [mg/l] |  | [kg/d] |
| COD |  | [mg/l] |  | [kg/d] |
| Dry Susp. Solids |  | [mg/l] |  | [kg/d] |
| Total Nitragen |  | [mg/l] |  | [kg/d] |
| - Ammonia-N |  | [mg/l] |  | [kg/d] |
| Total Phosphorous |  | [mg/l] |  | [kg/d] |
| Other |  | [mg/l] |  | [kg/d] |

# 3.6 Sludge treatment:

| To be included |  |  | Not required / existing |  |
| --- | --- | --- | --- | --- |
| Sludge utilization / disposal (please indicate): |  |  |

- Preferences (please indicate):

| Sludge prethickening | Static |  | Mechanical |  |
| --- | --- | --- | --- | --- |
| Sludge stabilization | Aerobic |  | Anaerobic |  |
| Sludge dewatering | Belt Screen |  | Decanter |  |
| Sludge conditioning | Polymer |  | Iron / Lime |  |
| Sludge storage |  | [days] |  |  |

- SCOPE OF SUPPLY & SERVICES

# Scope of supply:

| Mechanical and electrical equipment |  |  | Turn-key package |  |
| --- | --- | --- | --- | --- |

# Type of plant:

| Containerized (open air installation) |  |  | Conventional |  |
| --- | --- | --- | --- | --- |
| Other |  |  |  |  |

# Raw water pump station (please indicate):

| Yes: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pipeline length [m] |  |  | Geodetic height [m] |  |
| No: |  |  |  |  |

# 4.4	Pre-treatment system: Coarse and Fine Screen, Sand and Grit chamber, ...

| Existing |  |  | To be offered |  |
| --- | --- | --- | --- | --- |

# 4.5	Discharge pipeline:

| Pipeline length [m] |  |  | Geodetic height [m] |  |
| --- | --- | --- | --- | --- |

- DESIGN REQUIREMENTS: ELECTRICAL , INSTRUMENTS & CONTROL SYSTEMS

# 5.1 Power supply:

| Voltage [V] |  |  | Frequency [Hz] |  |
| --- | --- | --- | --- | --- |
| Available power [kW] |  |  | max. current [A] |  |
| Power generator set required | Yes |  | No |  |  |

5.2 Process Control / Plant Automation:

| automatic (local) |  |  | manual |  |
| --- | --- | --- | --- | --- |
| automatic (Remote control, Modem) |  |  |

# OTHER COMPONENTS / AUXILIARIES

| Spare Parts for how many months of operation |  |
| --- | --- |
| Chemicals, consumables for how many months of operation |  |
| Standard tools |  |
| Special tools |  |
| Portable instruments |  |
| Laboratory equipment, Test-Kits, laboratory chemicals |  |
| PPE |  |

# COMMERCIAL

  - Financing

| BOO / BOOT - offer for financing requested | Yes |  | No |  |  |
| --- | --- | --- | --- | --- | --- |

# 7.2 Lease / Hire

# The system is required on Hire / Lease from xx ( month )  xxxx ( year )

# to xx ( month )  xxxx ( year )

# for a period of xx months

# 7.3  Operation & Maintenance required ?

# yes / no

# for xx months    or xx years

# 7.4 Delivery Time

# The systems are required to be in operation on      xx ( day )   xx ( month )  xxxx ( year )

# SPECIAL, PREFERENCES

Please, describe any special requirements not mentioned in the questionnaire:

# ATTACHMENTS (available additional information)

| Plant area layout, Existing facilities & short description, add. treated water requirements, ... |  |
| --- | --- |