# GENERAL REMARKS:

Please tick the appropriate field, fill in "yes" or "no" or fill the data / information required;

E-mail the filled Questionnaire + Raw Water Analysis to info@aquarius-holding.com, taking reference to the Project Name and Project-Number

# GENERAL INFORMATION

| Country (Location of Plant) |  |
| --- | --- |
| City (Location of Plant) |  |
| Project-Name |  |
| Project-No. |  |
| Client / Company-Name |  |
| End-Customer-Name |  |
| Website |  |
| Contact Person at Client |  |
| Country ( Client) |  |
| City ( Client) |  |
| Street-Name, Street-No. |  |
| P.O. Box-No. |  |
| Phone-No. (Office) |  |
| Phone-No. (Mobile) |  |
| Fax-No. |  |
| E-mail-address |  |

- FORM OF QUOTATION ( required ) :

| General Information only |  |
| --- | --- |
| Budget Offer |  |
| Detailed firm Offer |  |

# TECHNICAL INFORMATION

| 3.1 Plant location (Town / District / Country): |  |
| --- | --- |

| Level above sea [m] |  |  | Ambient temperature min. / max. [°C] |  |
| --- | --- | --- | --- | --- |
| Relative humidity [%] |  |  | Max. wind speed [km/h] |  |
| Distance from sea/raw water source [m] |  |  |  |
| Available foot print [m x m] |  |  | (please add sketch or layout) |

3.2 Area classification:

| Safe area |  |  | Hazardous area |  |
| --- | --- | --- | --- | --- |
|  |  |  | Class |  |

3.3 Plant capacity:

| Average [m3/hour] |  |  | Average [m3/day] |  |
| --- | --- | --- | --- | --- |
| Peak [m3/hour] |  |  | Peak [m3/day] |  |

| 3.4 Annual raw water temperature range: | Min [°C] |  | Max [°C] |  |
| --- | --- | --- | --- | --- |

# 3.5 Required treated water quality:

| Potable water (WHO) |  |  | Irrigation water |  |
| --- | --- | --- | --- | --- |
| Potable water for non potable use |  |  | Cooling water |  |
| Process water |  |  | Pure / ultra-pure water |  |
| Boiler feed water |  |  | Others (please specify) |  |

# (If other than potable / drinking water WHO, please submit specifications / standards!)

# 3.6 Available raw water source:

| Wells |  |  | Beach wells |  |
| --- | --- | --- | --- | --- |
| Surface water (river or lake) |  |  | Open sea intake |  |
| Others (advise details) |  |

(Please add specification for raw water quality according to analysis data sheet!)

# 3.7 Available raw water parameters:

| Flow rate available min [m3/hour] |  |  | Flow rate available max. [m3/hour] |  |
| --- | --- | --- | --- | --- |
| Pressure min. [bar g] |  |  | Pressure max. [bar g] |  |

- SCOPE OF SUPPLY & SERVICES

# Type of plant:

| Containerized |  |  | Skid mounted (indoor) |  |
| --- | --- | --- | --- | --- |
| Conventional (in a building at site) |  |  | Skid mounted (outdoor) |  |
| Trailer mounted |  |  |  |  |

# 4.2 Raw water pump station:

| To be offered | Yes / No |  | Pipe length up to the Desal-Plant [m] |  |
| --- | --- | --- | --- | --- |
|  |  |  | Elevation difference (geodetic) [m] |  |

# 4.3 Treated water / Product water delivery to:

| Outlet-flange of Desal-Plant | Yes / No |  | With a product water pressure of [bar g] |  |
| --- | --- | --- | --- | --- |
| Existing product water storage tank | Yes / No |  | New product water storage tank | Yes / No |
| Distance from Desal-Plant [m] |  |  | Distance from Desal-Plant [m] |  |
| Elevation difference (geodetic) [m] |  |  | Elevation difference (geodetic) [m] |  |

# 4.4 Brine / Concentrate can be discharged at:

| By gravity | Yes / No | With a product water pressure of [bar g] |  |
| --- | --- | --- | --- |
| By pumping | Yes / No |  |  |

# 4.5 Storage tanks required:

|  | Storage time [days] |  | Capacity [m³] |  | Material (RCC, GRP, PE, St, SS, ...) |  | Shape (cylindrical, rectangular, ...) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Raw Water |  |  |  |  |  |  |  |
| 2. Product Water |  |  |  |  |  |  |  |
| 3. Brine |  |  |  |  |  |  |  |

- DESIGN REQUIREMENTS: ELECTRICAL , INSTRUMENTS & CONTROL SYSTEMS

# 5.1 Power requirements:

| Voltage [V] |  |  | Frequency [Hz] |  |
| --- | --- | --- | --- | --- |
| Available power [kW] |  |  | max. current [A] |  |
| Voltage Fluctuation [%] |  |  | Power factor correction | Yes / No |
| Power generation required | Yes / No |  | Power factor required | Yes / No |

5.2 Process Control / Plant Automation:

| automatic (local) | Yes / No |  | manual | Yes / No |
| --- | --- | --- | --- | --- |
| automatic (central DCS, BMS) | Yes / No |  | automatic (remote) | Yes / No |

| 5.3 Energy recovery required: | Yes |  | No |  |
| --- | --- | --- | --- | --- |

# OTHER COMPONENTS / AUXILIARIES

| Spare Parts for how many months of operation |  |
| --- | --- |
| Chemicals, consumables for how many months of operation |  |
| Standard tools |  |
| Special tools |  |
| Portable instruments |  |
| Laboratory equipment, Test-Kits, laboratory chemicals |  |
| PPE |  |

# COMMERCIAL

  - Financing

| BOO / BOOT - offer for financing requested | Yes |  | No |  |  |
| --- | --- | --- | --- | --- | --- |

# 7.2 Lease / Hire

# The system is required on Hire / Lease from xx ( month )  xxxx ( year )

# to xx ( month )  xxxx ( year )

# for a period of xx months

# 7.3  Operation & Maintenance required ?

# yes / no

# for xx months    or xx years

# 7.4 Delivery Time

# The systems are required to be in operation on      xx ( day )   xx ( month )  xxxx ( year )

# SPECIAL, PREFERENCES

Please, describe any special requirements not mentioned in the questionnaire:

# ATTACHMENTS (available additional information)

Available data: raw water analysis, treated water requirements, …